CITY OF ROCKFORD, ILLINOIS

PUBLIC WORKS DEPARTMENT SITE PLAN REVIEW COMMENTS

PROJECT: __________________________________________PW # __________ DATE: _________CHECKED BY: ________

DEVELOPER:__________________________________________cc:ENGINEER:______________________________________

PHONE # ______________________________________                              FAX # ______________________________________

THE FOLLOWING CHECKED ITEMS ARE MISSING FROM YOUR PLANS AND MUST BE INCLUDED BEFORE WE CAN CONTINUE OUR PLAN REVIEW. PLEASE HAVE THESE ITEMS CORRECTED AND RETURNED TO US. 

____
(3) Sets of signed/sealed plans.

____
Copy of final recorded plat

____
Location address; project name; Vicinity Map-including adjacent street names and intersections.

____
Title Block including Name, address and phone of Engineer or Architect who prepared the plans.

____
North arrow and proper engineering scale (i.e. 1”=20’; 1”=40’; 1”=100’).

____  Show all proposed and existing driveways/curb cuts on both sides of street. Clearly label as either existing or proposed. Existing curb cuts/driveways not being used shall be noted on your plans as being removed and reconstructed as such, including any necessary sidewalk reconstruction.

____  Dimensions for all streets, rights-of-way, driveways, curb cuts, parking stalls, curb radii, sidewalk, etc. (maximum width of commercial driveways at R.O.W. is 35’).

____
Show all new concrete sidewalks at 5’ wide, offset 1’ into R.O.W. and continuous through all driveways.

____
Parking layout and striping plan. 

____
Building gross square footage area. (with finish floor elevations)
____
Indicate direction of drainage flow.

____
Limits of detention area (volume, incoming rate and release rate);  Low flow channel (size and cross section).

____
Label size and type of existing/proposed storm drain system. (with inverts & rim elevations)

____
Drainage/detention calculations.

____
Existing and proposed contour lines or spot elevations.

____  Show all existing/proposed utilities (including location, size, service sizes, fire service sizes).

____
Proposed water main taps to include note “To be installed by City Water Division”.

____
Show all easements. (Utility, sewer, water, ingress/egress, electric, phone, cable)

____
Clearly label all buildings, additions and parking areas as either existing or proposed.

____
Erosion Control Plan

____  Show location of street lights and label type of light to be installed and note “to be installed in accordance with Commomwealth Edison standards.”

____  Other:     _____________________________________________________________________________________________

          _____________________________________________________________________________________________________

          _____________________________________________________________________________________________________

